## Sheet1
Project Name: | [11 empty] | Note: Current funding request must be in the Year 1 Column, unless it's a Critical Needs item.
Prepared By (person & entity): | [7 empty] | EUL = Expected Useful Life (in years) |  |  |  | Note: This shall be an "AS-IS", Pre-Rehab Projection
Date Last Revised: | [7 empty] | ERL = Effective Remaining Life (in years) |  |  |  | Note: Critical Needs column must be used for Preservation Determination only.
Note: Refer to Chapter 10 of the Minnesota Housing Design/Construction Standards for Critical Needs determination.
Item | Life Expectancy |  |  | Cost Estimate (Today's $) |  |  | Comments | Critical | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | Total
{update as needed} | EUL | Age | ERL | Units | Qty | $ |  | Needs | 20?? | 20?? | 20?? | 20?? | 20?? | 20?? | 20?? | 20?? | 20?? | 20?? | 20?? | 20?? | 20?? | 20?? | 20?? | 20?? | 20?? | 20?? | 20?? | 20??
Inspectable Area #1
Health and Life Safety
Egress - Obstructions, Sleeping Room Rescue, & Fire Escapes | 0 | 0 | 0 |  |  | 0 | [22 empty] | 0
Code-required Exit Signage | 0 | 0 | 0 |  |  | 0 | [22 empty] | 0
Flamable/ Combustable Clearances from fuel-burning equipment | 0 | 0 | 0 |  |  | 0 | [22 empty] | 0
Interior/ Exterior Handrails & Guardrails | 50 | 0 | 50 |  |  | 0 | [22 empty] | 0
Interior / Exterior Stairs | 50 | 0 | 50 |  |  | 0 | [22 empty] | 0
Call-for-aid System (if present) | 25 | 0 | 25 |  |  | 0 | [22 empty] | 0
Sharp Edge Hazards | 0 | 0 | 0 |  |  | 0 | [22 empty] | 0
Trip Hazards | 0 | 0 | 0 |  |  | 0 | [22 empty] | 0
Structural Systems Repair/ Replacement | 0 | 0 | 0 |  |  | 0 | [22 empty] | 0
Health and Life Safety Other | 0 | 0 | 0 |  |  | 0 | [22 empty] | 0
Inspectable Area #2
Site and Accessory Structures
Asphalt (Pothole) Repair/Replace | 25 | 0 | 25 |  |  | 0 | [22 empty] | 0
Concrete Repair/Replace | 30 | 0 | 30 |  |  | 0 | [22 empty] | 0
Sealcoat/Restripe | 5 | 0 | 5 |  |  | 0 | [22 empty] | 0
Private Roads and Driveway Access | 25 | 0 | 25 |  |  | 0 | [22 empty] | 0
Grading, Drainage, Earthwork, Landscaping | 50 | 0 | 50 |  |  | 0 | [22 empty] | 0
Play Area/Site Amenities | 20 | 0 | 20 |  |  | 0 | [22 empty] | 0
Fencing and Gates | 40 | 0 | 40 |  |  | 0 | [22 empty] | 0
Site Signage | 15 | 0 | 15 |  |  | 0 | [22 empty] | 0
Site Utilities | 40 | 0 | 40 |  |  | 0 | [22 empty] | 0
Retaining Walls | 20 | 0 | 20 |  |  | 0 | [22 empty] | 0
Porches/Decks/Canopies | 28 | 0 | 28 |  |  | 0 | [22 empty] | 0
Trash Enclosure/Sheds | 30 | 0 | 30 |  |  | 0 | [22 empty] | 0
Site Drains & Drainage Remediation | 50 | 0 | 50 |  |  | 0 | [22 empty] | 0
Sidewalks/ Walkways/ Ramps | 50 | 0 | 50 |  |  | 0 | [22 empty] | 0
Site and Garage Other | 50 | 0 | 50 |  |  | 0 | [22 empty] | 0
Structural Integrity Items (Critical) | 40 | 0 | 40 |  |  | 0 | [22 empty] | 0
Chimney, Flue, or Firebox | 40 | 0 | 40 |  |  | 0 | [22 empty] | 0
Site and Accessory Structures Other | 25 | 0 | 25 |  |  | 0 | [22 empty] | 0
Inspectable Area #3
Building Envelope
Roof Covering - Asphalt/Wood Shingles | 25 | 0 | 25 |  |  | 0 | [22 empty] | 0
Roof Covering - Built Up/Single Ply | 20 | 0 | 20 |  |  | 0 | [22 empty] | 0
Roof Covering - Metal | 40 | 0 | 40 |  |  | 0 | [22 empty] | 0
Roof Drainage/ Gutters/ Downspouts | 25 | 0 | 25 |  |  | 0 | [22 empty] | 0
Exterior Walls - Alum Siding | 15 | 0 | 15 |  |  | 0 | [22 empty] | 0
Exterior Walls - Masonry | 40 | 0 | 40 |  |  | 0 | [22 empty] | 0
Exterior Walls - Precast Conc | 50 | 0 | 50 |  |  | 0 | [22 empty] | 0
Exterior Walls - Vinyl Siding | 30 | 0 | 30 |  |  | 0 | [22 empty] | 0
Exterior Walls - Cement/Composite | 45 | 0 | 45 |  |  | 0 | [22 empty] | 0
Exterior Walls - Wood/Stucco/Other | 10 | 0 | 10 |  |  | 0 | [22 empty] | 0
Exterior Wall Assembly/Insulation | 50 | 0 | 50 |  |  | 0 | [22 empty] | 0
Soffits/Fascias/Parapets | 25 | 0 | 25 |  |  | 0 | [22 empty] | 0
Windows - Aluminum | 30 | 0 | 30 |  |  | 0 | [22 empty] | 0
Windows - Wood Vinyl/Fiberglass | 25 | 0 | 25 |  |  | 0 | [22 empty] | 0
Skylights | 30 | 0 | 30 |  |  | 0 | [22 empty] | 0
Doors - Service/Entry | 25 | 0 | 25 |  |  | 0 | [22 empty] | 0
Overhead Doors | 20 | 0 | 20 |  |  | 0 | [22 empty] | 0
Waterproofing (foundations) | 50 | 0 | 50 |  |  | 0 | [22 empty] | 0
Broken Glass Repair | [5 empty] | 0 | [22 empty] | 0
Door/Window Lock Repair | [5 empty] | 0 | [22 empty] | 0
Water Penetration Remediation | [5 empty] | 0 | [22 empty] | 0
Foundation Repair | 50 | 0 | 50 |  |  | 0 | [22 empty] | 0
Bldg Envelope Other | 25 | 0 | 25 |  |  | 0 | [22 empty] | 0
Inspectable Area #4
Common Areas
Garages | 50 | 0 | 50 |  |  | 0 | [22 empty] | 0
Furniture, Fixtures, and Equipment (FF&E) | 25 | 0 | 25 |  |  | 0 | [22 empty] | 0
Cabinetry | 15 | 0 | 15 |  |  | 0 | [22 empty] | 0
Doors and Windows - Interior | 30 | 0 | 30 |  |  | 0 | [22 empty] | 0
Fire-rated Doors & Opening | 30 |  | 30 |  |  | 0 | [22 empty] | 0
Flooring - Ceramic/Wood/Concrete | 40 | 0 | 40 |  |  | 0 | [22 empty] | 0
Flooring - Carpet/Resilient | 7 | 0 | 7 |  |  | 0 | [22 empty] | 0
Flooring - Substrate | 30 | 0 | 30 |  |  | 0 | [22 empty] | 0
Painting/Finishing | 8 | 0 | 8 |  |  | 0 | [22 empty] | 0
Public Bath - Accessories | 7 | 0 | 7 |  |  | 0 | [22 empty] | 0
Public Bath - Plumbing Fixtures | 15 | 0 | 15 |  |  | 0 | [22 empty] | 0
Wall/Ceiling Repairs | 20 | 0 | 20 |  |  | 0 | [22 empty] | 0
Food Preparation Area | 25 | 0 | 25 |  |  | 0 | [22 empty] | 0
Trash Chutes | 25 | 0 | 25 |  |  | 0 | [22 empty] | 0
Common Area Other | 0 | 0 | 0 |  |  | 0 | [22 empty] | 0
Inspectable Area #5
Common Plumbing and Sanitation Systems
Common Domestic Water Heater | 15 | 0 | 15 |  |  | 0 | [22 empty] | 0
Leaky or Clogged Water/Sewer Piping | 50 | 0 | 50 |  |  | 0 | [22 empty] | 0
Common Plmbg Fixture Repair/Replacement | 20 | 0 | 20 |  |  | 0 | [22 empty] | 0
Gas/ Oil Leak Repair/ Remediation | [5 empty] | 0 | [22 empty] | 0
Plumbing and Sanitation Other | [5 empty] | 0 | [22 empty] | 0
Inspectable Area #6
Common Area Mechanical Systems
Common HVAC | 30 | 0 | 30 |  |  | 0 | [22 empty] | 0
Boiler | 25 | 0 | 25 |  |  | 0 | [22 empty] | 0
Temperature Controls | 15 | 0 | 15 |  |  | 0 | [22 empty] | 0
Clothes Dryer Exhaust Ventilation | 20 | 0 | 20 |  |  | 0 | [22 empty] | 0
Mechanical Other | [5 empty] | 0 | [22 empty] | 0
0
Inspectable Area #7
Common Area Electrical Systems
Light Fixtures | 15 | 0 | 15 |  |  | 0 | [22 empty] | 0
Receptacles, switches, etc. | 30 | 0 | 30 |  |  | 0 | [22 empty] | 0
Service/Electrical Breakers | 50 | 0 | 50 |  |  | 0 | [22 empty] | 0
Fire Alarm /CO/NO2 | 10 | 0 | 10 |  |  | 0 | [22 empty] | 0
Missing/Damaged Fire Extinguishers | 10 | 0 | 10 |  |  | 0 | [22 empty] | 0
Electrical Other | [5 empty] | 0 | [22 empty] | 0
Inspectable Area #8
Elevator (if present)
Elevator Shaft/Mech/General | 30 | 0 | 30 |  |  | 0 | [22 empty] | 0
Elevator Cab/Finishes | 15 | 0 | 15 |  |  | 0 | [22 empty] | 0
Elevator Other | [5 empty] | 0 | [22 empty] | 0
Inspectable Area #9
Fire Protection
Missing/Damaged Fire Extinguishers | 10 | 0 | 10 |  |  | 0 | [22 empty] | 0
Missing/Damaged/Inoperable Fire Sprinkler | 50 | 0 | 50 |  |  | 0 | [22 empty] | 0
Inspectable Area #10
Environmental
Lead-based Paint Remediation | [5 empty] | 0 | [22 empty] | 0
Mold/Mildew Remediation | [5 empty] | 0 | [22 empty] | 0
Radon Mitigation | [5 empty] | 0 | [22 empty] | 0
Asbestos Containing Mat. Remediation | [5 empty] | 0 | [22 empty] | 0
Infestation (Cockroach, Bedbugs, Mice, Rats, Other) | [5 empty] | 0 | [22 empty] | 0
Environmental Other | [5 empty] | 0 | [22 empty] | 0
Inspectable Area #11
Accessibility
Leasing/Public Accessible Route | [5 empty] | 0 | [22 empty] | 0
Accessible Unit (adapt or repair) | [5 empty] | 0 | [22 empty] | 0
Grab Bar Repair/ Replace/ New | 50 | 0 | 50 |  |  | 0 | [22 empty] | 0
Accessible Other | [5 empty] | 0 | [22 empty] | 0
0
Inspectable Area #12
Other
Graffiti/Vandal Remediation & Resistance | [5 empty] | 0 | [22 empty] | 0
Building Inspector/Ordinance Compliance | [5 empty] | 0 | [22 empty] | 0
NSPIRE Defficiency | [5 empty] | 0 | [22 empty] | 0
NSPIRE Defficiency | [5 empty] | 0 | [22 empty] | 0
NSPIRE Defficiency | [5 empty] | 0 | [22 empty] | 0
NSPIRE Defficiency | [5 empty] | 0 | [22 empty] | 0
Other | [5 empty] | 0 | [22 empty] | 0
Inspectable Area #13
Dwelling Units (DU)
Kitchen/Bath Cabinets | 20 | 0 | 20 |  |  | 0 | [22 empty] | 0
Plumbing Fixtures - Kitchen Sinks | 20 | 0 | 20 |  |  | 0 | [22 empty] | 0
Plumbing Fixtures - Bath Lavatories | 20 | 0 | 20 |  |  | 0 | [22 empty] | 0
Plumbing Fixtures - Toilets | 20 | 0 | 20 |  |  | 0 | [22 empty] | 0
Plumbing Fixtures - Bathtubs/ Showers | 20 | 0 | 20 |  |  | 0 | [22 empty] | 0
Flooring - Carpet | 7 | 0 | 7 |  |  | 0 | [22 empty] | 0
Flooring - Resilient | 15 | 0 | 15 |  |  | 0 | [22 empty] | 0
Painting/Finishing | 8 | 0 | 8 |  |  | 0 | [22 empty] | 0
DU Doors/Entry Door | 30 | 0 | 30 |  |  | 0 | [22 empty] | 0
Wall Ceiling Repairs | 20 | 0 | 20 |  |  | 0 | [22 empty] | 0
Kitchen/Range Exhaust | 10 | 0 | 10 |  |  | 0 | [22 empty] | 0
Bath Exhaust | 10 | 0 | 10 |  |  | 0 | [22 empty] | 0
Appliances - Range Hood | 10 | 0 | 10 |  |  | 0 | [22 empty] | 0
Appliances - Range/Stove Top | 15 | 0 | 15 |  |  | 0 | [22 empty] | 0
Appliances - Refrigerator | 10 | 0 | 10 |  |  | 0 | [22 empty] | 0
Appliances - Dishwasher | 15 | 0 | 15 |  |  | 0 | [22 empty] | 0
Appliances - In Unit Clothes Washer | 15 | 0 | 15 |  |  | 0 | [22 empty] | 0
Appliances - In Unit Clothes Dryer | 15 | 0 | 15 |  |  | 0 | [22 empty] | 0
Window Coverings | 20 | 0 | 20 |  |  | 0 | [22 empty] | 0
Smoke/CO Detectors | 10 | 0 | 10 |  |  | 0 | [22 empty] | 0
Unit Wiring/Receptacles/Switches | 30 | 0 | 30 |  |  | 0 | [22 empty] | 0
Window/Thru-Wall AC | 12 | 0 | 12 |  |  | 0 | [22 empty] | 0
Water Heater | 7 | 0 | 7 |  |  | 0 | [22 empty] | 0
Packaged HVAC | 25 | 0 | 25 |  |  | 0 | [22 empty] | 0
Clothes Dryer Exhuast Ventilation | 30 | 0 | 30 |  |  | 0 | [22 empty] | 0
DU Other | [5 empty] | 0 | [22 empty] | 0
General Conditions, Overhead and Profit
General Conditions (6% Max)
Overhead (2% Max)
Profit (6% Max)
Uninflated Totals | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Inflation Factor (3%) | [7 empty] | 1 | 1 | 1.03 | 1.06 | 1.09 | 1.13 | 1.16 | 1.19 | 1.23 | 1.27 | 1.3 | 1.34 | 1.38 | 1.43 | 1.47 | 1.51 | 1.56 | 1.6 | 1.65 | 1.7 | 1.75
Inflated Totals | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL PROPOSED REHAB (Critical Needs + Year One) | [8 empty] | 1: 0; 2: * No inflation added to Critical Needs or to Year 1 per July 2018 document revision.
Preparer Certification
I certify that this 20 Year Capital Expenditure Template is a true and accurate assessment of this property's condition.
The costs indicated are based upon industry standards, current cost estimates, and/or based upon the preparer's experience.
I also certify that this document was prepared by me or under my direct supervision.
Printed Name
Signature
Date Property Inspected
Attachments: